REDUCED INTRACRANIAL VOLUME IN FABRY DISEASE: EVIDENCE OF ABNORMAL NEURODEVELOPMENT?

Giuseppe Pontillo, MD 1#, Sirio Cocozza, MD 1#*, Arturo Brunetti, MD 1, Vincenzo Brescia Morra, MD 2, Eleonora Riccio, MD, PhD 3, Camilla Russo, MD 1, Francesco Saccà, MD 2, Enrico Tedeschi, MD 1, Antonio Pisani, MD, PhD 3, Mario Quarantelli, MD 4, on behalf of the AFFINITY study group

1 Department of Advanced Biomedical Sciences, University “Federico II”, Naples, Italy

2 Department of Neurosciences and Reproductive and Odontostomatological Sciences,

University “Federico II”, Naples, Italy

3 Department of Public Health, Nephrology Unit, University “Federico II”, Naples, Italy

4 Institute of Biostructure and Bioimaging, National Research Council, Naples, Italy

# These authors equally contributed to this work

MRI data acquisition

All MRI exams have been carried out on the same 3 Tesla MR scanner (Trio, Siemens Medical Systems, Erlangen, Germany). Brain scans included a three-dimensional Fluid-Attenuated Inversion Recovery (FLAIR) sequences, acquired with the following parameters: TR = 6000 ms; TE = 396 ms; TI = 2200 ms; Flip Angle = 120°; voxel size = 1x1x1 mm3; number of slices = 160; sagittal orientation, and a structural T1w volumes acquired using a three-dimensional magnetization-prepared rapid gradient-echo sequence (MPRAGE; axial planes; TR=1900 ms; TE=3.4 ms; TI=900 ms; Flip Angle=9°; voxel size=1x1x1 mm3; number of slices=160).

Table s1

|  | Sex | Age | Mutation | Residual Enzyme Activity |
| --- | --- | --- | --- | --- |
| Patient #1 | M | 55 | A.288D | 0.3 |
| Patient #2 | M | 43 | G740A | 0.2 |
| Patient #3 | M | 38 | G740A | 0.2 |
| Patient #4 | F | 33 | c.1133C>T | 2.5 |
| Patient #5 | F | 68 | c.67T>G | 3.4 |
| Patient #6 | M | 49 | p.R356W | 1.8 |
| Patient #7 | M | 34 | c.67T>G | 0.2 |
| Patient #8 | M | 50 | c.1066C>T | 0 |
| Patient #9 | F | 56 | p.R356W | 3.7 |
| Patient #10 | F | 36 | p.R356W | 3.5 |
| Patient #11 | F | 30 | c.901C>G | 3.9 |
| Patient #12 | F | 25 | A.288D | 6.4 |
| Patient #13 | M | 52 | p.Trip162X | 3.1 |
| Patient #14 | F | 26 | c.1066C>T | 4.3 |
| Patient #15 | M | 56 | c.1066C>T | 2.7 |
| Patient #16 | M | 54 | c.1066C>T | 0 |
| Patient #17 | M | 47 | c.1066C>T | 2.3 |
| Patient #18 | F | 51 | c.1021dupG | 1.9 |
| Patient #19 | F | 45 | c.1021dupG | 2.3 |
| Patient #20 | F | 28 | c.1021dupG | 4.4 |
| Patient #21 | M | 43 | c.1133C>T | 0 |
| Patient #22 | F | 59 | c.1066C>T | 2.1 |
| Patient #23 | F | 46 | p.R356W | 4.7 |
| Patient #24 | F | 20 | IVS4+5G>T | 4.7 |
| Patient #25 | F | 49 | IVS4+5G>T | 2.7 |
| Patient #26 | M | 45 | IVS4+5G>T | 0.6 |
| Patient #27 | F | 35 | c.680G>C | 4.1 |
| Patient #28 | F | 32 | c.680G>C | 2.9 |
| Patient #29 | F | 62 | c.680G>C | 2.8 |
| Patient #30 | F | 29 | c.901C>G | 0.2 |
| Patient #31 | F | 57 | c.901C>G | 3.0 |
| Patient #32 | F | 33 | c.424T>C | 6.3 |
| Patient #33 | F | 48 | c.1066C>T | 3.7 |
| Patient #34 | F | 65 | G740A | 2.5 |
| Patient #35 | M | 35 | c.352C>T | 3.4 |
| Patient #36 | F | 38 | c.508G>A | 4.8 |
| Patient #37 | F | 19 | c.901C>G | 3.0 |
| Patient #38 | M | 46 | c.901C>G | 0.8 |
| Patient #39 | F | 30 | c.901C>G | 1.5 |
| Patient #40 | F | 34 | c.901C>G | 1.5 |
| Patient #41 | F | 73 | c.1066C>T | 2.3 |
| Patient #42 | M | 44 | c.1066C>T | 0 |

Table s1: List of mutations and residual enzyme activity for all FD patents included in the study.

Table s2

| Cluster Volume (ml) | T |  | pFWE-corr | X | Y | Z |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7.8 | 5.01 |  | 0.029 | -14 | -2 | -8 |  | Left Pallidum |
|  | 4.38 |  | 0.181 | -6 | -6 | 2 |  | Left Thalamus |
|  | 4.03 |  | 0.483 | 2 | -14 | 14 |  | Right Thalamus |

Table s2: Results of the VBM analysis

Cluster of reduced GM volume in FD patients compared to HC.

Results are reported for p<0.05, FWE-corrected at cluster level, along with the corresponding maximum T values. For the three local maxima, p-values corrected at voxel level are also reported (FWE-corrected). No significant differences emerged when testing the FD > HC contrast.

Coordinates refers to mm from the anterior commissure in MNI space, with anatomical labeling according to (1).

References

1.	Tzourio-Mazoyer N, Landeau B, Papathanassiou D, et al. Automated anatomical labeling of activations in SPM using a macroscopic anatomical parcellation of the MNI MRI single-subject brain. NeuroImage. 2002 Jan;15(1):273-289.