## Supplementary Table S9
Datasheet S3. The Reporting of Metabolites.
Supplementary Table S9. Metabolite Reporting Checklist.
Level | Aspect | Information | Fill in
general aspect | Type of metabolome analysis | targeted metabolite analysis | -
|  | non-targeted metabolite class scale profiling | TRUE
|  | non-targeted metabolome scale profiling | -
|  | non-targeted finger printing of mass features | -
| Type of quantification | absolute or quantification | relative quantification
| Type of reference samples | chemcially defined | To minimize the error, andrographolide was dissolved in acetonitrile as an internal standard solution with the terminal concentration of 133μM.
|  | biologically defined | The quality control (QC) samples were prepared by pooling 0.2g powder of each sample.Six QC samples were prepared.
| Type of replication | analytical (same analytical sample preparation) | 3
|  | technological (same biological preparation) | 1
|  | biological (same experimental condition) | 3
|  | full experiment | 18
| Type of technology | reference publication | Plant Cell reference style
| Sample preparation | method of sample preparation | chemically non-modified
|  | method of chromatography/separation | Chromatographic separation was completed on a Shimadzu LC-30AD Series UHPLC system (Shimadzu, Duisburg, Germany) equipped with supplementary SIL-30AC injector and (PAD) SPD-M20A detector. ACQUITY UPLCTM BEH C18 column (100 mm × 2.1 mm, 1.7 μm, Waters, Milford, USA) was attached to the whole analyses at 35℃. A flow rate of 0.3 mL/min was chosen to use while 0.1% formic acid water (A) and acetonitrile (B) comprising the mobile phase. The gradient elution conditions were optimized as follows:0-3 min, 5% B → 5% B; 3-25 min, 5% B → 95% B; 25-28 min, 95% B → 95% B; 28-28.1 min, 95% → 5% B, followed by 4 min re-equilibration.
|  | method of ionization | negative mode ESI electrospray ionization temperature (℃): 500 (ESI-); nebulizer gas pressure (psi): 60 (ESI-); ion spray voltage (KV): 4.5 (ESI-); collision energies (V): 35 (ESI-).
|  | method of detection | MS, AB SCIEX TripleTOFTM 5600+ system (AB SCIEX Technologies, USA)
metabolite/mass feature | Metabolite | metabolite name | Andrographolide* Naringenin chalcone Pinocembrin Dihydrokaempferol Dihydroquercetin (+)-Catechin (+)-Gallocatechin (-)-Epicatechin Kaempferol Quercetin Myricetin Chrysin Apigenin Luteolin Rutin Isoginkgetin Ginkgetin Robinin Kaempferol-7-O-neohesperidoside Isorhamnetin-3-O-rutinoside Kaempferol 3-O-β-D-rhamninoside Quercetin-3-neohesperidoside-7-rhamnoside Rhamnegin Quercitrin Quercetin 3-β-D-glucoside Sinapic acid Sinapyl alcohol p-Coumaric acid beta-D-Glucosyl-2-hydroxycinnamate Coniferyl aldehyde Caffeic acid Ferulic acid trans-2-Hydroxycinnamate cis-2-Hydroxycinnamate (Coumarinate) p-Coumaraldehyde Secoisolariciresinol
|  | metabolite sum formula | C20H30O5 C15H12O5 C15H12O4 C15H12O6 C15H12O7 C15H14O6 C15H14O7 C15H14O6 C15H10O6 C15H10O7 C15H10O8 C15H10O4 C15H10O5 C15H10O6 C27H30O16 C32H22O10 C32H22O10 C33H40O19 C27H30O15 C28H32O16 C33H40O19 C33H40O20 C34H42O20 C21H20O11 C21H20O12 C11H12O5 C11H14O4 C9H8O3 C15H18O8 C10H10O3 C9H8O4 C10H10O4 C9H8O3 C9H8O3 C9H8O2 C20H26O6
|  | metabolite structure and public source of metabolite identifier | HMDB (http://www.hmdb.ca/), PubChem (https://pubchem.ncbi.nlm.nih.gov/), NIST (https://www.nist.gov/), MassBank (http://www.massbank.jp/) and METLIN (https://metlin.scripps.edu/) databases (Linstrom and Mallard 2001, Horai, Arita et al. 2010, Domingo-Almenara, Montenegro-Burke et al. 2018, Kim, Chen et al. 2018, Wishart, Feunang et al. 2018).
| Identification | identification process | manually supervized
|  | by authentic mass isotopomer added to one or all biological sample(s) | FALSE
|  | by authentic reference compound within a co-processed reference mixture | TRUE
|  | by authentic reference compound previously mapped to the analytical system | FALSE
|  | reference library | -
|  | type of mass spectrum | AB SCIEX TripleTOFTM 5600+ system
|  | by match of molecular mass (single mass fragment) | 395.2075
|  | by match of fragments | 331.19, 287.20, 303.20, 239.18, 113.03
|  | by match of fragmentation pattern | 287.2020 54.75 331.1918 76.66
|  | by match of mass spectrum to reference library | -
|  | type of retention index | -
|  | by match of retention time (index) to reference library | -
| Quantification | type of quantification | relative
| Validity testing | Recovery testing (chemical analog) | -
|  | Recovery testing (internally added mass isotopomer) | -
|  | Recovery testing (mixture of most divergent samples from the experiment) | -
|  | Test for linear range | -
|  | Limit of quantification (LOQ) | -
|  | Limit of detection (LOD) | -

## Supplementary Table S10
Supplementary Table S10. Metabolite Identification Details.
UPLC-QTOF-MS metabolites
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S
1
2 | A: Experiment title: The effect of elevation and tree age on flavonoid biosynthesis in Ginkgo
3 | A: Organism/Plant species: Ginkgo
4 | A: Organ/tissue: leaves
5 | A: Analytical tool: UPLC-MS/MS
6
7 | A: Peak no.- number referenced back to the main text
8 | A: Ret . Time- Retention time, in minutes (difference in Ret.Time between ES(+) and ES(-) modes was less than XX minutes)
9 | A: Putative Name- putative identification of the metabolite
10 | A: Mol. Formula- molecular formula of the metabolite or its FA adduct;
11 | A: Theor. m/z- theoretical monoisotopic mass calculated for the ion (M-H)- , (M+H)+ or (M+FA)-
12 | A: Found m/z- mass detected in the experiment
13 | A: m/z error (ppm)- difference between theoretical and found m/z values in ppm
14 | A: MSMS fragments- fragments, obtained from the ion (M-H)- , (M+H)+ or (M+FA)-
15 | A: MS/MS CE (eV)- collision energy used for fragmentation optional
16 | A: UV/Vis- UV/ Vis absorbance maxima
17 | A: () FA- formic acid adduct
18 | A: (S)- identification confirmed by a standard compound
19 | A: I, II, III- different isomers
20 | A: Identification level (A; B; C; D)- (A) standard or NMR; (B) MS/MS; (C) MSE; (D) MS only
21
22 | Peak no. | Ret. Time | Putative metabolite name | Coresponding Metabolite in Literature | Metabolite Class | Mol formula | ES(+) Theor m/z | ES(+) Found m/z | ES(-) Theor m/z | ES(-) Found m/z | m/z error (ppm) | MS/MS ES(+) fragments | MS/MS ES(+) CE (eV) | MS/MS ES(-) fragments | MS/MS ES(-) CE (eV) | UV/Vis | Species detected before | References | Identification level (A-D)
23 | A: 1; B: 11.11; C: Andrographolide; E: Terpenoids; F: C20H30O5; I: 395.2075; J: 395.2058; K: -4.3015; N: 331.19 287.20 303.20 239.18 113.03; O: 35; S: A
24 | A: 2; B: 12.2; C: Naringenin chalcone; E: Chalcone; F: C15H12O5; I: 271.0612; J: 271.0604; K: -2.9514; N: 119.05 151.01 271.05 107.02 118.05; O: 35; S: B
25 | A: 3; B: 15.06; C: Pinocembrin; E: Flavonoid; F: C15H12O4; I: 255.0663; J: 255.0659; K: -1.5682; N: 255.07 213.06 201.84 190.96 151.00; O: 35; S: B
26 | A: 4; B: 9.94; C: Dihydrokaempferol; E: Flavonoid; F: C15H12O6; I: 287.0561; J: 287.0554; K: -2.4385; N: 125.03 259.06 177.06 152.01 201.06; O: 35; S: B
27 | A: 5; B: 8.94; C: Dihydroquercetin; E: Flavonoid; F: C15H12O7; I: 303.051; J: 303.0504; K: -1.9799; N: 125.03 175.04 217.05 199.04 285.04; O: 35; S: B
28 | A: 6; B: 6.42; C: (+)-Catechin; E: Flavonoid; F: C15H14O6; I: 289.0718; J: 289.0715; K: -1.0378; N: 109.03 203.07 123.05 226.06 125.03; O: 35; S: B
29 | A: 7; B: 5.97; C: (+)-Gallocatechin; E: Flavonoid; F: C15H14O7; I: 305.0667; J: 305.0659; K: -2.6224; N: 125.03 137.03 219.07 167.04 139.04; O: 35; S: B
30 | A: 8; B: 7.49; C: (-)-Epicatechin; E: Flavonoid; F: C15H14O6; I: 289.0718; J: 289.0711; K: -2.4215; N: 203.07 221.08 123.05 109.03 137.02; O: 35; S: B
31 | A: 9; B: 12.39; C: Kaempferol; E: Flavonoid; F: C15H10O6; I: 285.0405; J: 285.0396; K: -3.1574; N: 285.04 239.03 214.03 286.04 268.04; O: 35; S: B
32 | A: 10; B: 11.2; C: Quercetin; E: Flavonoid; F: C15H10O7; I: 301.0354; J: 301.0348; K: -1.9931; N: 151.01 301.03 121.03 107.02 179.00; O: 35; S: B
33 | A: 11; B: 9.91; C: Myricetin; E: Flavonoid; F: C15H10O8; I: 317.0303; J: 317.0286; K: -5.3623; N: 137.03 317.04 179.00 151.00 167.04; O: 35; S: B
34 | A: 12; B: 14.81; C: Chrysin; E: Flavonoid; F: C15H10O4; I: 253.0506; J: 253.0527; K: 8.2987; N: 253.05 163.00 254.06 187.04 199.84; O: 35; S: B
35 | A: 13; B: 12.17; C: Apigenin; E: Flavone; F: C15H10O5; I: 269.0455; J: 269.0453; K: -0.74337; N: 269.05 117.04 151.00 149.02 225.06; O: 35; S: B
36 | A: 14; B: 11.14; C: Luteolin; E: Flavone; F: C15H10O6; I: 285.0405; J: 285.0398; K: -2.4558; N: 285.04 133.03 199.04 151.00 217.05; O: 35; S: B
37 | A: 15; B: 8.6; C: Rutin; E: Flavonoid glycosides; F: C27H30O16; I: 609.1461; J: 609.1435; K: -4.2683; N: 609.14 301.03 300.03; O: 35; S: B
38 | A: 16; B: 16.25; C: Isoginkgetin; E: Biflavonoids; F: C32H22O10; I: 565.114; J: 565.1109; K: -5.4856; N: 565.11 533.08 389.06 374.04; O: 35; S: B
39 | A: 17; B: 16.5; C: Ginkgetin; E: Biflavonoids; F: C32H22O10; I: 565.114; J: 565.1108; K: -5.6626; N: 565.11 533.09 389.07 374.04; O: 35; S: B
40 | A: 18; B: 10.54; C: Robinin; E: Flavonoid; F: C33H40O19; I: 739.2091; J: 739.1894; K: -26.6501; N: 739.18 593.15 284.03 285.04 255.03; O: 35; S: B
41 | A: 19; B: 9.12; C: Kaempferol-7-O-neohesperidoside; E: Flavonoid glycosides; F: C27H30O15; I: 593.1512; J: 593.1492; K: -3.3718; N: 593.15 285.04 284.03; O: 35; S: B
42 | A: 20; B: 9.24; C: Isorhamnetin-3-O-rutinoside; E: Flavonoid glycosides; F: C28H32O16; I: 623.1618; J: 623.1592; K: -4.1723; N: 623.16 315.05 314.04 300.03 299.02; O: 35; S: B
43 | A: 21; B: 8.41; C: Kaempferol 3-O-β-D-rhamninoside; E: Flavonoid glycosides; F: C33H40O19; I: 739.2068; J: 739.2065; K: -0.40584; N: 739.21 284.03 255.03 227.04; O: 35; S: B
44 | A: 22; B: 8.03; C: Quercetin-3-neohesperidoside-7-rhamnoside; E: Flavonoid glycosides; F: C33H40O20; I: 755.204; J: 755.2022; K: -2.3835; N: 755.20 300.03 301.03 271.02; O: 35; S: B
45 | A: 23; B: 8.5; C: Rhamnegin; E: Flavonoid glycosides; F: C34H42O20; I: 769.2197; J: 769.2179; K: -2.34; N: 769.21 314.00; O: 35; S: B
46 | A: 24; B: 9.41; C: Quercitrin; E: Flavonoid glycosides; F: C21H20O11; I: 447.0933; J: 447.0913; K: -4.4733; N: 284.03 300.03 301.04 447.09 255.03; O: 35; S: B
47 | A: 25; B: 8.83; C: Quercetin 3-β-D-glucoside; E: Flavonoid glycosides; F: C21H20O12; I: 463.0882; J: 463.0864; K: -3.8869; N: 300.03 301.04 463.09 271.02 255.03; O: 35; S: B
48 | A: 26; B: 6.66; C: Sinapic acid; E: Hydroxycinnamic acids and derivatives; F: C11H12O5; I: 223.0612; J: 223.0612; K: 0; N: 121.03 149.02 193.01 163.03 223.06; O: 35; S: B
49 | A: 27; B: 6.67; C: Sinapyl alcohol; E: Phenols; F: C11H14O4; I: 209.0819; J: 209.0818; K: -0.47828; N: 179.03 121.03 151.03 161.02; O: 35; S: B
50 | A: 28; B: 6.75; C: p-Coumaric acid; E: Hydroxycinnamic acids and derivatives; F: C9H8O3; I: 163.0401; J: 163.0407; K: 3.6801; N: 119.05 117.04 145.90 104.03 162.84; O: 35; S: B
51 | A: 29; B: 6.76; C: beta-D-Glucosyl-2-hydroxycinnamate; E: Hydroxycinnamic acids and derivatives; F: C15H18O8; I: 325.0929; J: 325.0919; K: -3.076; N: 119.05 163.04; O: 35; S: B
52 | A: 30; B: 6.84; C: Coniferyl aldehyde; E: Phenols; F: C10H10O3; I: 177.0557; J: 177.0561; K: 2.2592; N: 133.03 105.04 121.03 177.02; O: 35; S: B
53 | A: 31; B: 6.88; C: Caffeic acid; E: Hydroxycinnamic acids and derivatives; F: C9H8O4; I: 179.035; J: 179.0355; K: 2.7928; N: 135.05 134.04 107.05 117.04; O: 35; S: B
54 | A: 32; B: 7.8; C: Ferulic acid; E: Hydroxycinnamic acids and derivatives; F: C10H10O4; I: 193.0506; J: 193.0511; K: 2.59; N: 134.04 133.03 106.05 158.85 178.03; O: 35; S: B
55 | A: 33; B: 8.18; C: trans-2-Hydroxycinnamate; E: Hydroxycinnamic acids and derivatives; F: C9H8O3; I: 163.0401; J: 163.0409; K: 4.9068; N: 119.05 117.04 145.89 104.03 162.84; O: 35; S: B
56 | A: 34; B: 8.69; C: cis-2-Hydroxycinnamate (Coumarinate); E: Hydroxycinnamic acids and derivatives; F: C9H8O3; I: 163.0401; J: 163.0404; K: 1.84; N: 119.05 117.04 145.89 162.89 104.03; O: 35; S: B
57 | A: 35; B: 15.34; C: p-Coumaraldehyde; E: Cinnamaldehydes; F: C9H8O2; I: 147.0452; J: 147.0463; K: 7.4807; N: 119.06 117.03 129.04 147.05; O: 35; S: B
58 | A: 36; B: 10.12; C: Secoisolariciresinol; E: Lignans; F: C20H26O6; I: 361.1655; J: 361.1646; K: -2.4919; N: 361.17 165.05 346.14 122.04 179.07; O: 35; S: B