Supplementary Material

Appendix

### Appendix A: Methods: Isotopic signatures of evapotranspiration, leaf and soil samples

The water oxygen stable isotopic signature is reported here as δ-notation, relative to Vienna Standard Mean Ocean Water (V-SMOW; Gonfiantini, 1978: δ18O = [(Rsample − RV−SMOW)/RV−SMOW] and are expressed in ‰.

# Evapotranspiration

Isotopic signatures of evapotranspiration were measured by coupling a cavity ring-down spectrometer (CRDS, L2120-i, Picarro Inc., Santa Clara, CA, USA) to gas exchange chambers. Isotopic signatures of evapotranspiration (δET) were determined by mass balance:

δET=uoutwoutδout-uinwinδinuoutwout-uinwin=woutδout-winδinwout-win-winwoutδout-δinwout-win (A1)

where u is the flow rate [mol (air) s−1], w the mole fraction [mol (H2O) mol (air)−1] and δ the isotope ratio of air. Subscripts denote the incoming (in) and outgoing (out) air stream of the gas chamber. The second term in Eq. 1 corrects for the air flow in the chamber due to addition of water by evapotranspiration ET. δ, w and u were measured by alternately measuring the atmospheric vapor (reference, incoming air stream) and mixed signal of ET and atmosphere (sample, outgoing air stream) with the CRDS.

# Soil evaporation and transpiration

In order to model the isotopic signature of transpiration and soil evaporation (see Appendix B: Isotope Theory), soil and leaf samples were collected for isotopic analysis parallel to gas chamber measurements. Soil (n = 3 per treatment, in total 12) and leaf samples (n = 3 per treatment, mixed leaf samples, in total 12) were collected in the afternoon (14:00-16:00) during flux measurements (assuming steady state of transpiration). All samples were taken in close vicinity to the metallic rings for chamber measurements. Leaf samples were taken from vegetation outside of the rings resampling the vegetation present in the rings. Major veins of herbaceous species were removed in order to sample solely mesophyll water. Soil and leaf water samples were immediately sealed, stored at -20°C and later extracted on a custom-built vacuum line by cryogenic distillation. Samples were heated at approximately 95 ºC for 90 min under vacuum of 0.8 Pa and water vapor was trapped in liquid N2 cooled water traps. Extracted water samples were stored in sealed glass vials at 4 ºC until analysis. Samples were measured with laser spectroscopy (Picarro L2130i, CRDS, Santa Clara, CA, USA) by liquid water injection into the vaporizer of the analyzer. Within every batch of 105 samples three replicates of three different laboratory standards plus a running standard after each 10 samples were analyzed for δ18O calibration. Laboratory standards were calibrated against V-SMOW, SLAP, and GISP (IAEA, Vienna). Analytical precision was 0.13 ± 0.17 ‰ for δ18O.

Results were post-processed with the Picarro software PostChemCorrectTM to detect organic contamination. A certain amount of samples contaminated with organic compounds were analyzed by isotope-ratio mass spectrometry (Isoprime IRMS, Elementar, Langenselbold, Germany), after headspace equilibration for 24 hours at 20 °C, connected via open split to a µgas auto sampler (Elementar, Langenselbold, Germany). Results showed good agreement between samples measured by laser spectroscopy and isotope-ratio mass spectrometry.

Appendix B: Isotope theory

# Soil evaporation

The isotope ratios of soil evaporation (RE) were calculated using the Craig and Gordon model

(Craig & Gordon, 1965):

(A2)

where Re is the isotope ratio of bulk soil water at the evaporating site and Rv the isotope ratio of atmospheric water vapor. The highest value of isotopic ratio of bulk soil water alongside the soil profile was chosen for Re and its respective temperature (Te) and soil water content (xe) taken for calculations. α+ (α+>1) is the water vapor equilibrium fractionation factor and was calculated after Majoube (1971), using Te. h is the relative air humidity normalized to air temperature and Te. αk the kinetic fractionation factor (αk >1) and is defined as (Stewart, 1975):

αk=DvDvink(A3)

with DvDvi as the molecular diffusion coefficient, Dv as diffusivity of H2O in air and Dvi as the diffusivity of H218O in air. Here, we chose DvDvi = 1.028 after Merlivat (1978) and Luz, Barkan, Yam, & Shemesh (2009). The exponent nk was calculated after Mathieu & Bariac (1996), using the soil moisture content on the evaporative front:

nk=θe-θrna+θsat-θens(θsat-θr) (A4)

With θr, θsat, and θe being the residual, the saturated volumetric soil water content, and the volumetric soil water content at the evaporative site. The residual soil water content found in the top layers (1 cm and 5 cm, year 2016-2017) was 0.035-0.11 m3 m-3, the saturated was 0.19-0.32 m3 m-3 (depending on treatment), na and ns are 0.5 and 1.0 respectively, following Mathieu & Bariac (1996). For more details about calculating αk see Braud, Bariac, Gaudet, & Vauclin, (2005) and Dubbert et al. (2013).

# Transpiration

The isotope ratios of transpiration are derived from leaf water samples following the approach by Piayda, Dubbert, Siegwolf, Cuntz, & Werner (2017). Leaf water at the evaporative front (Re) was sampled during assumed steady state of transpiration in the early afternoon. Major veins from herbaceous species were removed and, therefore, the Péclet effect was not considered in this study. For modelling the isotopic signature of transpiration in the months August, the results of leaf water of the campaign two weeks before had to be taken.

The isotope ratios of xylem can be calculated using the Craig and Gordon model (Eq. A2), assuming that transpiration is in steady state in the early afternoon and that the isotope ratios of transpiration equal the isotope ratios of xylem. Here, Re is the isotope ratio of leaf water at the evaporating site and h the relative air humidity normalized to the leaf temperature.

The leaf water at the evaporative site in steady state RC can be calculated using the results of (Eq. A3) (RE, isotope ratio of xylem in steady state).

(A5)

The isotope ratios at the evaporative site in non-steady state Re can be calculated with an iterative model over time dt if leaf water Vm (mol (H2O) m−2) is assumed constant (Cuntz, Ogée, Farquhar, Peylin, & Cernusak, 2007; Dongmann, Nürnberg, Förstel, & Wagener, 1974; Farquhar & Cernusak, 2005). gt is the leaf conductance for water vapor/canopy conductance of water vapor (mmol m-2 s-1) and wi the vapor saturation at leaf temperature (mol(H2O) mol(air)−1) (Eq. A4). As a starting point, 4 hours before sunrise was chosen, the starting value for RC was the isotope ratios of xylem, derived from Eq. A1. Re at a time t + dt is calculated from Re at an earlier time t.

(A6)

As a final step, the isotope ratio of transpiration in non-steady state RE can be derived using the Craig and Gordon model (Eq. A1).

# Partitioning evapotranspiration: example of month May

Supplementary Figure 1. Example for partitioning evapotranspiration ET, campaign in May, 2017. (A) δ18O of water fluxes E, T and ET, in ‰. ∂E, ∂T: Mean output values of model. ∂ET: Mean measured value. (B)  Water fluxes, in mmol m-2 s-1. ET: Mean measured value. E and T according to partitioning approach.

Appendix C: Calibrating eddy-covariance based flux data with chamber based flux data

Supplementary Table 1. Coefficient of correlation (r, after Spearman) between chamber based flux measurements and eddy covariance based flux measurements, per campaign. Fluxes: Evapotranspiration (ET) and net ecosystem exchange (NEE).

| Campaign | ET | NEE |
| --- | --- | --- |
| 2017-04-21 | 0.88 | 0.88 |
| 2017-05-09 | 0.89 | 0.80 |
| 2017-05-29 | 0.88 | 0.81 |
| 2017-06-21 | 0.95 | 0.86 |
| 2017-07-04 | 0.89 | 0.82 |
| 2017-07-14 | 0.87 | 0.71 |
| 2017-07-17 | 0.84 | 0.57 |
| 2017-07-29 | 0.86 | 0.77 |
| 2017-08-16 | 0.90 | 0.84 |
| 2017-09-15 | 0.80 | 0.78 |

Supplementary Figure 2. Correlation between chamber based flux measurements and eddy covariance based flux measurements, example of campaign 2017-08-16. (A) Evapotranspiration ET.

(B) Net ecosystem exchange (NEE).

Supplementary Figure 3. Top: Daily sums of evapotranspiration ET. Bottom: Daily sums of net ecosystem exchange NEE, chamber based (black) and eddy-covariance based (grey). Per campaign and treatment. Treatments: CC (control, CD (precipitation reduction), NC (nitrogen addition), ND (precipitation reduction and nitrogen addition).

Supplementary Figure 4. Average offset for calibrating eddy-covariance based data with chamber based data, for each campaign and treatment. Top: Evapotranspiration ET. Bottom: Net ecosystem exchange NEE. After adding offset, values of ET an NEE were checked for plausibility. In very rare cases ET became negative, these values were removed and interpolated. Treatments: CC (control), CD (precipitation reduction), NC (nitrogen addition), ND (nitrogen addition and precipitation reduction).

Appendix D: Species list: forb species.

Supplementary Table 2. List of forb species present. This list indicates all the forb species found on the plots over the growing season 2017. They are listed from most frequently seen to least frequent.

Species

Centaurea jacea

Lotus corniculatus

Achillea millefolium

Gallium mollugo

Gallium verum

Potentilla reptans

Potentilla argentae

Silene vulgaris

Plantago lanceolata

Plantago media

Thymus pulegiodes

Stellaria graminea

Hypericum perforatum

Verbena officinalis

Leucanthemum vulgare

Dianthus deltoides

Tanacetum vulgare

Cirsium arvense

Daucus carota

Trifolium repens

Hypochaeris radicata

Rumex sp.

Lathyrus platanoides

Malva ssp.

Leontodon sp.

unknown sp.

Appendix E: Statistical results

Supplementary Table 3. Statistical results on treatment differences for soil evaporation E and ecosystem respiration Reco, per measurement campaign and treatment. Treatments: CC (control, CD (precipitation reduction), NC (nitrogen addition), ND (precipitation reduction and nitrogen addition). Treatments which do not share letters are significantly different (each campaign separately, p < 0.05).

| Treatment | Date | E | Reco |
| --- | --- | --- | --- |
| CC | 20-4-2017 | a | A |
| CD | 20-4-2017 | b | B |
| NC | 20-4-2017 | c | A |
| ND | 20-4-2017 | d | B |
| CC | 8-5-2017 | ac | A |
| CD | 8-5-2017 | b | A |
| NC | 8-5-2017 | a | A |
| ND | 8-5-2017 | c | b |
| CC | 28-5-2017 | a | A |
| CD | 28-5-2017 | a | A |
| NC | 28-5-2017 | a | A |
| ND | 28-5-2017 | b | A |
| CC | 20-6-2017 | a | A |
| CD | 20-6-2017 | b | A |
| NC | 20-6-2017 | a | A |
| ND | 20-6-2017 | ab | a |
| CC | 3-7-2017 | a | a |
| CD | 3-7-2017 | b | ab |
| NC | 3-7-2017 | c | ab |
| ND | 3-7-2017 | d | b |
| CC | 13-7-2017 | a | a |
| CD | 13-7-2017 | b | ab |
| NC | 13-7-2017 | c | b |
| ND | 13-7-2017 | a | ab |
| CC | 16-7-2017 | a | a |
| CD | 16-7-2017 | b | a |
| NC | 16-7-2017 | c | a |
| ND | 16-7-2017 | d | a |
| CC | 28-7-2017 | a | a |
| CD | 28-7-2017 | a | a |
| NC | 28-7-2017 | b | a |
| ND | 28-7-2017 | a | a |
| CC | 15-8-2017 | a | ac |
| CD | 15-8-2017 | a | a |
| NC | 15-8-2017 | a | b |
| ND | 15-8-2017 | b | bc |
| CC | 14-9-2017 | a | a |
| CD | 14-9-2017 | b | ab |
| NC | 14-9-2017 | c | b |
| ND | 14-9-2017 | d | ab |