Supplementary methods for XiaozhangTie Quality of Control

XZT extraction methods

XZT was extracted using an ultrasonic-assisted extraction method as previously described.1 XZT was cut into small pieces and mixed with 60 mL of 80% (v/v)methanol aqueous solution into a volumetric flask. The bottles were then closed and placed in the ultrasonic bath with the temperature maintained at 20°Cfor 30 min (40 kHz, SB-5200D, Ningbo Scientz Technology Co. Ltd, Ningbo, China).The prepared extracts were then transferred to 10 mL centrifuge tubes and centrifuged at 6,000 g for 10 min. Then, the supernatants were filtered by a 0.22μm syringe filter and stored at 4°C until further analyzed.

XZT essential oil was obtained by a hydro-distillation method as described in the pharmacopoeia of the People’s Republic of China.2 XZT was cut into small pieces, soaked in water (300 mL) for 12 h, and then distilled at the temperature of 200°C for 5 h using a Clevenger-type apparatus. The yellowish colored essential oils were collected and stored in sealed vials at 4°C until the time of analysis.

UPLC-QTOF-MS/MS experimental parameters in the compositional analysis

The compositional analysis of XZT extracts was performed on a Waters Acquity Ultra-Performance LC-Synapt G2 Q/TOF system (Waters Corporation, Milford, MA, USA). The column was a 50 mm × 2.1 mm, 1.7 μm, Syncronis C18 reverse-phase column (ThermoFinnigan, San Jose, CA, USA) and the temperature was maintained at 30°C. The mobile phase consisted of acetonitrile (A) and 5mM ammonium acetate (B) with a gradient as follows: 0-3 min, 5%-15% A; 3-5 min, 15%-23% A; 5-7 min, 23%-40% A; 7-17 min, 40%-65% A; 17-19 min, 65%-70% A; 19-24 min, 70%-95% A; 24-32 min, 95% A. The flow rate was raised from0.2 mL/min (0-25 min) to 0.5 mL/min (25-32 min).The injection volume was 5 μL.

The QTOF Premier mass spectrometer was operated on a fullscanoperation in both positive and negative ionization modes using an electrospray ionization (ESI )source. Capillary voltage was maintained at +3 kV and -2.5kV in the positive and negative modes, respectively. Conevoltage was set to+30Vfor the positive mode and -25 V for the negative mode. The source temperature was 120°C and the desolvation gas temperature was 350°C. Nitrogenwas used as both cone gas (50 L/h) and desolvation gas (800 L/h), and argon was used as collision gas. For accurate mass analysis, the mass spectrometer was monitored by intermittent injection of the lock mass leucine-enkephaline([M+H]+ = 556.2771 m/z; [M-H]- = 554.2615 m/z) at a concentration of 2 ng/mL in real time. Data were collected in centroid mode from 100 to 1,000m/z. Meanwhile, the MS/MS fragment information was obtained using a collision energy ramp from 10 eV to 30 eV.

Putative identifications for the resulting ion list were obtained through mass-based search against three databases: PubChem (http://pubchem.ncbi.nlm.nih.gov), ChemSpider(http://www.chemspider.com), and mzCloud (http://www.mzcloud.org).The mass tolerance in the database search was set to 5 ppm and 2.2 mDa. Furthermore, the identified compounds were verified by comparing their MS spectra and retention time with the commercially available standards.

Fig. 1 Base peak chromatograms of Xiaozhang Tie extracts obtained by UPLC-QTOF-MSin the positive ion mode.(a, Xiaozhang Tie; b, blank cataplasm)

| The Formula of Xiaozhang Tie and Quality of Control (one dose) |
| --- |
| Drug name | plant sources | Medicinal parts | Dosage/g | Quality control |
| Dahuang | Rheum palmatum L. | rhizoma | 1 | Emodin >=0.42 mg |
| Laifuzi | Raphanus sativus L. | seed | 1 |  |
| Gansui | Euphorbia kansui T. N. Liou ex T. P. Wang | root | 1 |  |
| Chenxiang | Aquilaria sinensis (Lour.)Gilg | stem | 0.2 |  |
| Dingxiang | Eugenia caryophyllata Thunb. | flower bud | 1 |  |
| borneolum syntheticum |  |  | 0.04 | Borneol >=18.0 mg |
| artificial moschus |  |  | 0.004 |  |

Reference

- Xing, F., Y. Tan, G. J. Yan, J. J. Zhang, Z. H. Shi, S. Z. Tan, N. P. Feng & C. H. Liu. Effects of Chinese herbal cataplasm Xiaozhang Tie on cirrhotic ascites. J Ethnopharmacol, 2012, 139, 343-9.

- Zhang, K., Zhang, Y., Li, N., Xing, F., Zhao, J., Yang, T., Liu, C., and Feng, N. (2019). An herbal-compound-based combination therapy that relieves cirrhotic ascites by affecting the L-arginine/nitric oxide pathway: A metabolomics-based systematic study. J Ethnopharmacol, 2019, 241, 112034.