## Foglio1
Table S1¦ Comparison of RT-ddPCR and RTqPCRNS3 assays for quantitative detection of BTV in field samples. a= Field samples analyzed in RT-qPCRNS3 and RT-ddPCR; b= Mean of the individual Cq values obtained by RT-qPCRNS3 ± Standard Deviation; c= Coefficient of variation; d= Copies BTV/µl of sample; e Log of copies number BTV in µl/sample; f= Mean of copies number BTV in µl detected by RT-ddPCR ± Standard Deviation; g= Log (RT- qPCRNS3 quantification ) - Log (RT-ddPCR quantification)
| Real Time RT-qPCRNS3 |  |  |  | RT-ddPCR
Field samplea | Mean Cq values ± SDb | CV(%)c | Copies BTV/µl sampled | Log (copies/µl)e | Mean values (copies/µl mix) ± SDf | Copies BTV/µl sampled | CV(%)c | Log (copies/µl)e | Log differenceg
Culicoides 79633/1 | 27.81 ± 0.09 | 0.31 | 9701.38 | 4.0 | 87.00 ± 2.80 | 9787.5 | 3.30 | 4.0 | 0.0
Culicoides 79633/3 | 28.21 ± 0.20 | 0.08 | 7277.90 | 3.9 | 48.00 ± 2.10 | 5400.00 | 4.40 | 3.7 | 0.2
Culicoides 79633/5 | 23.72 ± 0.06 | 0.24 | 91433.73 | 5.0 | 53.70 ± 5.60 | 60356.25 | 10.40 | 4.8 | 0.2
Culicoides 79633/8 | 24.05 ± 0.16 | 0.68 | 75950.56 | 4.9 | 34.50 ± 3.50 | 38812.00 | 10.00 | 4.6 | 0.3
Culicoides 79633/9 | 22.00 ± 0.21 | 0.95 | 242211.14 | 5.4 | 25.85 ± 1.90 | 116325.00 | 7.40 | 5.1 | 0.3
Culicoides 79633/10 | 31.35 ± 0.03 | 0.09 | 1226.22 | 3.1 | 8.60 ± 1.70 | 387.00 | 19.70 | 2.6 | 0.5
Culicoides 79633/11 | 36.70 ± 0.70 | 1.90 | 70.02 | 1.8 | 5.50 ± 0.40 | 38.50 | 2.06 | 1.6 | 0.2
Culicoides 71189/1 | 24.21 ± 2.07 | 8.56 | 68638.03 | 4.8 | 21.60 ± 2.40 | 97.20 | 11.10 | 4.6 | 0.2
Culicoides 71189/6 | 24.91 ± 0.09 | 0.36 | 44221.17 | 4.6 | 10.70 ± 0.40 | 48.15 | 4.00 | 3.9 | 0.7
Culicoides 71189/7 | 24.90 ± 0.08 | 0.34 | 44530.87 | 4.6 | 5.10 ± 0.40 | 22.95 | 8.30 | 3.6 | 1.0
Culicoides 71820/6 | 21.87 ± 0.15 | 0.66 | 257642.51 | 5.4 | 21.35 ± 1.90 | 96.08 | 8.90 | 4.8 | 0.6
Culicoides 71820/8 | 31.44 ± 0.03 | 0.09 | 1090.00 | 3.0 | 1.15 ± 0.10 | 5.18 | 6.10 | 1.9 | 1.1
Culicoides 72678/1 | 29.34 ± 0.13 | 0.45 | 3625.14 | 3.6 | 18.09 ± 17.00 | 8140.05 | 0.90 | 3.9 | -3.0
Culicoides 72678/4 | 23.15 ± 0.07 | 0.29 | 119916.18 | 5.1 | 16.20 ± 1.60 | 72.9 | 9.60 | 4.5 | 0.6
Culicoides 72678/5 | 29.31 ± 0.00 | 0.00 | 3642.75 | 3.6 | 944.50 ± 4.90 | 4250.00 | 0.50 | 3.6 | 0.0
Culicoides 72678/7 | 22.83 ± 0.10 | 0.45 | 144674.11 | 5.2 | 10.85 ± 0.20 | 48.83 | 2.00 | 4.5 | 0.7
Blood 79384/1 | 30.86 ± 0.02 | 0.06 | 1625.47 | 3.2 | 31.85 ± 1.30 | 1433.25 | 4.20 | 3.2 | 0.0
Blood 79384/2 | 37.55 ± 0.07 | 0.20 | 36.93 | 1.6 | 5.85 ± 0.80 | 26.30 | 13.30 | 1.4 | 0.2
Blood 79384/3 | 34.99 ± 0.15 | 0.44 | 160.06 | 2.2 | 5.50 ± 0.40 | 117.90 | 7.39 | 2.1 | 0.1
Blood 79386/1 | 31.40 ± 0.05 | 0.15 | 1187.62 | 3.1 | 2.60 ± 0.32 | 695.25 | 12.21 | 2.8 | 0.0
Blood 79386/2 | 32.78 ± 0.11 | 0.35 | 546.29 | 2.7 | 1976.00 ± 21.66 | 155.70 | 1.10 | 2.2 | 0.5
Blood 79386/3 | 31.26 ± 0.12 | 0.38 | 1291.15 | 3.1 | 9.10 ± 0.10 | 409.50 | 1.60 | 2.6 | 0.5
Blood 79390/1 | 34.89 ± 0.26 | 0.74 | 168.73 | 2.2 | 22.60 ± 0.80 | 101.70 | 3.80 | 2.0 | 0.2
Blood 79390/2 | 30.01 ± 0.44 | 1.48 | 2712.23 | 3.4 | 4.25 ± 0.40 | 191.25 | 8.30 | 2.3 | 1.1
Blood 79390/3 | 31.84 ± 0.11 | 0.36 | 935.12 | 3.0 | 13.80 ± 1.70 | 621.00 | 12.30 | 2.8 | 0.2
Blood 79364/1 | 37.71 ± 0.29 | 0.78 | 36.02 | 1.6 | 4.00 ± 0.30 | 18.00 | 7.10 | 1.3 | 0.3
Blood 79364/2 | 35.23 ± 0.05 | 0.13 | 136.48 | 2.1 | 6.70 ± 0.80 | 30.15 | 12.70 | 1.5 | 0.6
Blood 79364/3 | 36.10 ± 0.82 | 2.27 | 100.49 | 2.0 | 12.85 ± 0.60 | 57.82 | 5.00 | 1.8 | 0.2
Blood 127 | 26.82 ± 0.03 | 0.11 | 2571.00 | 3.4 | 654.30 ± 11.72 | 2944.35 | 1.79 | 3.5 | -0.1
Blood 236 | 35.52 ± 0.27 | 0.77 | 9.00 | 1.0 | 0.60 ± 0.10 | 2.70 | 18.12 | 0.4 | 0.5
Blood 341 | 32.05 ± 0.04 | 0.14 | 88.00 | 1.9 | 16.30 ± 0.91 | 73.35 | 5.58 | 1.9 | 0.1
Blood 449 | 27.60 ± 0.05 | 0.19 | 1550.00 | 3.2 | 179.30 ± 3.79 | 806.85 | 2.11 | 2.9 | 0.3
Blood 695 | 29.74 ± 0.12 | 0.39 | 390.00 | 2.6 | 50.30 ± 3.21 | 226.35 | 6.38 | 2.4 | 0.2
Blood 8123 | 36.31 ± 0.24 | 0.65 | 5.00 | 0.7 | 1.00 ± 0.24 | 4.50 | 24.19 | 0.7 | 0.0
Blood 9124 | 27.56 ± 0.16 | 0.57 | 1599.00 | 3.2 | 252.00 ± 5.20 | 1134.00 | 2.06 | 3.1 | 0.1
Blood 11173 | 31.70 ± 0.03 | 0.10 | 106.00 | 2.0 | 24.10 ± 0.82 | 108.45 | 3.40 | 2.0 | 0.0
Blood 13247 | 29.13 ± 0.14 | 0.49 | 577.00 | 2.8 | 58.70 ± 1.71 | 264.15 | 2.91 | 2.4 | 0.3
Blood 14262 | 32.60 ± 0.04 | 0.12 | 60.00 | 1.8 | 5.50 ± 0.40 | 24.75 | 7.39 | 1.4 | 0.4
Blood 15278 | 35.36 ± 0.63 | 1.78 | 11.00 | 1.0 | 2.60 ± 0.32 | 11.70 | 12.21 | 1.1 | 0.0
Blood 16279 | 23.31 ± 0.15 | 0.62 | 24750.00 | 4.4 | 1976.00 ± 21.66 | 8892.00 | 11.10 | 3.9 | 0.4
Blood 17290 | 23.65 ± 0.07 | 0.29 | 20904.00 | 4.3 | 2739.30 ± 115.40 | 12326.85 | 4.21 | 4.1 | 0.2
Blood 18296 | 32.56 ± 0.11 | 0.33 | 63.00 | 1.8 | 9.90 ± 0.55 | 44.55 | 5.58 | 1.6 | 0.2
Blood 19301 | 32.50 ± 0.03 | 0.10 | 66.00 | 1.8 | 56.00 ± 2.14 | 252.00 | 3.82 | 2.4 | -0.6
Blood 20307 | 39.16 ± 0.70 | 1.79 | 1.00 | 0.0 | 0.10 ± 0.08 | 0.45 | 5.27 | -0.3 | 0.3