**Supplementary Table S1. The CT acquisition parameters of the two centers.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Parameters** | **Center 1** | **Center 2** |
| **CT system****information** | CT system | Dual Source CT (Somatom Definition Flash, Siemens Healthcare, Germany) | Spectral CT (Discovery CT750 HD scanner, GE Medical Systems, USA) | 64-channel CT (Brilliance CT, ROYAL PHILIPS, Netherlands) |
| **CT scan parameters** | Tube voltage | 120 kVp | 120kVp | 120kVp |
| Tube current | Variable tube currentwith automatic tube-current modulation activated | Variable tube currentwith automatic tube-current modulation activated | 300mAs |
| Rotation time | 0.5s | 0.6 s | 0.75s |
| Detector collimation | 64×0.6 mm | 64×0.625 mm | 64×0.625 mm |
| Pitch | 0.9 | 0.9 | 0.9 |
| Nephrographic phase | 80s after injection | 80s after injection | 80s after injection |
| Image matrix | 512×512 | 512×512 | 512×512 |
| Field of view | 350×350 mm | 350×350 mm | 350×350 mm |
| Reconstruction section thickness | 1mm | 1mm | 1mm |