|  |  |  |
| --- | --- | --- |
| **Description** | **Company** | **Code** |
| Aluminium Breadboard | Thorlabs | MB4545/M  |
| 95 mm Construction Rail  | Thorlabs | XT95-750  |
| Base Plate for 95 mm Rail | Thorlabs | XT95P3  |
| Drop-On-Rail Carriage  | Thorlabs | XT95RC2/M  |
| Kinematic Fluorescence Filter Cube  | Thorlabs | DFM2/M  |
| 550 Dichroic Long-pass  | Omega Optical  | 550DCLP  |
| 625 nm Bandpass 50 nm  | Omega Optical  | 625BP50  |
| High-Power LED 623 nm | Thorlabs | SOLIS-623C  |
| High-Power LED 470 nm | Thorlabs | SOLIS-470C  |
| Plano-Concave Lens  | Thorlabs | LC1315-A-ML |
| Diffuser | Thorlabs | DG20-1500  |
| sCMOS camera (ORCA-Flash 4.0 V3) | Hamamatsu | C13440-20CU  |
| 700 nm Long-pass  | Omega Optical  | 700LP  |
| Camera lens | Thorlabs | MVL12M43  |