## Sheet1
Table S2. Quantitative and calibration of tryptophan metabolites.
Preparation of standard reserve solution of tryptophan metabolites |  |  |  |  | Setting of chromatographic conditions for tryptophan metabolites |  |  |  | Quantitative and calibration of tryptophan metabolites |  |  |  |  | The recovery rate and standard relative deviation of QC sample
Cpd Name | Abbr. | CAS | M.W. | Formula | Abbr. | Prec Ion | Prod Ion | Polarity | Cpd Name | LLOD(nmol/L) | LLOQ (nmol/L) | ULOQ (nmol/L) | R^2 | Cpd Name | Concentration (nmol/L) | Recovery | RSD
3-Hydroxyanthranilic acid | 3-HAA | 548-93-6 | C7H7NO3 | 153.14 | 3-HAA | 154 | 136 | Positive | Indole | 3.906 | 7.813 | 1000 | 0.9988 | Indole | 100 | 1.108 | 0.012
3-Hydroxykynurenine | 3-HK | 2147-61-7 | C10H12N2O4 | 224.21 | 3-HK | 225 | 208 | Positive | Nicotinic acid | 39.063 | 78.125 | 5000 | 0.9992 | Nicotinic acid | 500 | 1.099 | 0.021
5-Hydroxyindoleacetic acid | 5-HIAA | 54-16-0 | C10H9NO3 | 191.18 | 5-HIAA | 192 | 146 | Positive | skatole | 15.625 | 31.25 | 1000 | 0.9967 | skatole | 100 | 1.063 | 0.061
Serotonin | 5-HT | 50-67-9 | C10H12N2O | 176.21 | 5-HT | 177 | 160 | Positive | Anthranilic acid | 1.953 | 3.906 | 125 | 0.9978 | Anthranilic acid | 50 | 1.087 | 0.012
5-Hydroxytryptophol | 5-HTOL | 154-02-9 | C10H11NO2 | 177.12 | 5-HTOL | 178 | 160 | Positive | Indole-3-carboxaldehyde | 1.953 | 3.906 | 250 | 0.9962 | Indole-3-carboxaldehyde | 100 | 1.125 | 0.008
L-5-Hydroxytryptophan | 5-HTP | 895096 | C11H12N2O3 | 220.22 | 5-HTP | 221 | 204 | Positive | Indole-3-carbinol | 39.063 | 78.125 | 5000 | 0.9991 | Indole-3-carbinol | 500 | 1.094 | 0.038
5-Methoxy-3-indoleacetic acid | 5-Me-IAA | 3471-31-6 | C11H11NO3 | 205.21 | 5-Me-IAA | 206 | 160 | Positive | 3-Hydroxyanthranilic acid | 1.953 | 3.906 | 500 | 0.9991 | 3-Hydroxyanthranilic acid | 50 | 1.097 | 0.015
6-Hydroxymelatonin | 6-OHM | 2208-41-5 | C13H16N2O3 | 248.28 | 6-OHM | 249 | 190 | Positive | Tryptamine | 78.125 | 156.25 | 5000 | 0.9982 | Tryptamine | 500 | 1.124 | 0.011
Anthranilic acid | AA | 118-92-3 | C7H7NO2 | 137.14 | AA | 138 | 120 | Positive | indole ethanol/tryptophol | 0.195 | 0.391 | 200 | 0.9993 | indole ethanol/tryptophol | 20 | 1.115 | 0.016
Indole-3-carbinol | I-3-C | 700-06-1 | C9H9NO | 147.17 | I-3-C | 130 | 103 | Positive | Indole-3-acetamide | 0.024 | 0.049 | 50 | 0.999 | Indole-3-acetamide | 20 | 0.916 | 0.024
indole acrylic acid | IA | 29953-71-7 | C11H9NO2 | 187.19 | IA | 188 | 170 | Positive | Indole-3-acetic acid | 0.488 | 0.977 | 500 | 0.9983 | Indole-3-acetic acid | 200 | 1.107 | 0.017
Indole-3-acetic acid | IAA | 87-51-4 | C10H9NO2 | 175.18 | IAA | 176 | 130 | Positive | Serotonin | 1.221 | 2.441 | 20000 | 0.9993 | Serotonin | 2000 | 1.112 | 0.006
Indole-3-acetamide | IAM | 879-37-8 | C10H10N2O | 174.2 | IAM | 175 | 130 | Positive | 5-Hydroxytryptophol | 7.813 | 15.625 | 1000 | 0.9992 | 5-Hydroxytryptophol | 100 | 1.101 | 0.029
Indole-3-carboxaldehyde | ICA | 487-89-8 | C9H7NO | 145.16 | ICA | 146 | 118 | Positive | indole acrylic acid | 0.122 | 0.244 | 250 | 0.9983 | indole acrylic acid | 100 | 1.123 | 0.01
indole ethanol/tryptophol | IE | 526-55-6 | C10H11NO | 161.2 | IE | 162 | 144 | Positive | 3-Indoleglyoxylic acid | 0.488 | 0.977 | 500 | 0.9966 | 3-Indoleglyoxylic acid | 100 | 1.091 | 0.02
3-Indoleglyoxylic acid | IGA | 1477-49-2 | C10H7NO3 | 189.17 | IGA | 190 | 144 | Positive | Kynurenic acid | 0.977 | 1.953 | 500 | 0.9975 | Kynurenic acid | 50 | 1.1 | 0.027
Indolelactic acid | ILA | 1821-52-9 | C11H11NO3 | 205.21 | ILA | 206 | 118 | Positive | 3-Indolepropionic acid | 2.441 | 4.883 | 5000 | 0.999 | 3-Indolepropionic acid | 500 | 1.111 | 0.016
Indican | Indican | 487-60-5 | C14H17NO6 | 295.29 | Indican | 294 | 294 | Negative | 5-Hydroxyindoleacetic acid | 1.953 | 3.906 | 1000 | 0.9982 | 5-Hydroxyindoleacetic acid | 200 | 1.091 | 0.029
Indole | Indole | 120-72-9 | C8H7N | 117.15 | Indole | 118 | 118 | Positive | L-Tryptophan | 781.25 | 1562.5 | 100000 | 0.9992 | L-Tryptophan | 10000 | 1.113 | 0.007
3-Indolepropionic acid | IPA | 830-96-6 | C11H11NO2 | 189.21 | IPA | 190 | 130 | Positive | Xanthurenic acid | 0.488 | 0.977 | 1000 | 0.9991 | Xanthurenic acid | 100 | 1.075 | 0.01
Indoxylsulfate | IS | 2642-37-7 | C8H7NO4S | 213.21 | IS | 212 | 132 | Negative | Indolelactic acid | 1.221 | 2.441 | 2500 | 0.9979 | Indolelactic acid | 1000 | 1.078 | 0.023
Kynurenine | KYN | 343-65-7 | C10H12N2O3 | 208.21 | KYN | 209 | 192 | Positive | 5-Methoxy-3-indoleacetic acid | 0.024 | 0.049 | 100 | 0.9988 | 5-Methoxy-3-indoleacetic acid | 20 | 1.091 | 0.014
Kynurenic acid | KYNA | 492-27-3 | C10H7NO3 | 189.17 | KYNA | 188 | 144 | Negative | Kynurenine | 19.531 | 39.063 | 20000 | 0.9988 | Kynurenine | 2000 | 1.113 | 0.011
Melatonin | Melatonin | 73-31-4 | C13H16N2O2 | 232.28 | Melatonin | 233 | 174 | Positive | Indoxylsulfate | 78.125 | 156.25 | 20000 | 0.9988 | Indoxylsulfate | 2000 | 1.111 | 0.011
Nicotinic acid | NA | 59-67-6 | C6H5NO2 | 123.11 | NA | 124 | 80 | Positive | N-Acetyl-5-hydroxytryptamine | 0.122 | 0.244 | 50 | 0.9991 | N-Acetyl-5-hydroxytryptamine | 10 | 1.108 | 0.012
N-Acetyl-5-hydroxytryptamine | NAS | 1210-83-9 | C12H14N2O2 | 218.25 | NAS | 219 | 160 | Positive | L-5-Hydroxytryptophan | 0.977 | 1.953 | 500 | 0.9994 | L-5-Hydroxytryptophan | 50 | 1.082 | 0.04
skatole | skatole | 83-34-1 | C9H9N | 131.18 | skatole | 132 | 117 | Positive | 3-Hydroxykynurenine | 3.906 | 7.813 | 1000 | 0.9994 | 3-Hydroxykynurenine | 100 | 1.106 | 0.014
L-Tryptophan | Trp | 73-22-3 | C11H12N2O2 | 204.22 | Trp | 205 | 188 | Positive | Melatonin | 0.488 | 0.977 | 50 | 0.9994 | Melatonin | 10 | 1.099 | 0.009
Tryptamine | Tryptamine | 61-54-1 | C10H12N2 | 160.22 | Tryptamine | 161 | 144 | Positive | 6-Hydroxymelatonin | 1.563 | 3.125 | 100 | 0.9987 | 6-Hydroxymelatonin | 10 | 1.089 | 0.025
Xanthurenic acid | Xa | 59-00-7 | C10H7NO4 | 205.17 | Xa | 206 | 160 | Positive | Indican | 3.906 | 7.813 | 2000 | 0.9997 | Indican | 200 | 1.119 | 0.006
the results for the calibration curves
Indole
NA
skatole
AA
ICA
I-3-C
3-HAA
Tryptamine
IE
IAM
IAA
5-HT
5-HTOL
IA
IGA
KYNA
IPA
5-HIAA
Trp
Xa
ILA
5-Me-IAA
KYN
IS
NAS
5-HTP
3-HK
Melatonin
6-OHM
Indican